## Alternate PPDC Report Form rev
MATERIALS SECTION | [11 empty] | INSTALLATION AND OPERATIONS SECTION | [9 empty] | FAILURE ANALYSIS SECTION | [16 empty] | CONTACT INFORMATION
TYPE OF MATERIAL | (DESCRIBE IF OTHER) | MATERIAL_STAND | DATE OF MANUFACTURE | YEAR_MANUFACTURE | MANUFACTURER | MANUFACTURER_STAND | PRINT LINE or LABEL | WALL_DATA | SDR,DR, SCHEDULE or WALL THICKNESS | NOMINAL SIZE | NOMINAL_SIZE_STAND | METHOD OF INSTALLATION (Open Trench, Bored, Plowed In, Insertion, Joint Trench, Planted, Unknown, Other - describe, Direct Bury) | Description of Other Method of Installation | METHOD_STAND | TYPE OF SOIL IN CONTACT WITH PIPE (Sand, Loam, Clay, Rocky, Slurry, Other - describe) | Description of Other Type of Soil | OPERATING PRESSURE AT TIME OF FAILURE (psig) | OPERATING PRESSURE NORMAL RANGE MINIMUM (if known) (psig) | OPERATING PRESSURE NORMAL RANGE MAXIMUM (if known) (psig) | DATE OF INSTALLATION | YEAR_INSTALLATION | FAILURE LOCATION (Pipe, Fitting or Joint) | LOCATION_OTHER | LOCATION_STAND | FAILURE IN FITTING (Transition, Valve, Meter Riser, Mechanical Fitting, Heat Fusion Fitting, Electrofusion Fitting, Other - describe) | Description of Other Fitting Type | FITTING_STAND | FAILURE IN JOINT (Mechanical, Electrofusion, Butt Fusion, Socket Fusion, Saddle Fusion, Solvent, Other - describe) | Description of Other Joint Type | JOINT_STAND | FAILURE CAUSE (Squeeze Off, Point Loading, Excessive Expansion/Contraction, Excessive External Earth Loading, Installation Error, Previous Impact, Unknown, Unknown - not excavated - abandoned, Unknown - not excavated - replaced, Material Defect - describe, Other - describe) | CAUSE_ORIGINAL2 | ADDITIONAL FAILURE CAUSE (Squeeze Off, Point Loading, Excessive Expansion/Contraction, Excessive External Earth Loading, Installation Error, Previous Impact, Unknown, Unknown - not excavated - abandoned, Unknown - not excavated - replaced, Material Defect - describe, Other - describe) | Description of Material Defect or Other Failure Cause | CAUSE_STAND | DATE OF FAILURE | YEAR_FAILURE | YEARS_SERVICE | CONTACT NAME | PHONE NUMBER
Click Here to View Definitions Document
ABS
CAB
HDPE - 3306 | [11 empty] | OPEN TRENCH | [18 empty] | SQUEEZE OFF
HDPE - 3406 | [11 empty] | BORED | [12 empty] | TRANSITION |  |  | MECHANICAL |  |  | POINT LOADING
HDPE - 3408 | [11 empty] | PLOWED IN |  |  | SAND | [9 empty] | VALVE (PLASTIC) |  |  | ELECTROFUSION |  |  | EXCESSIVE EXPANSION/CONTRACTION
MDPE - 2306 | [11 empty] | INSERTION |  |  | LOAM | [9 empty] | METER RISER |  |  | BUTT FUSION |  |  | EXCESS EXTERNAL EARTH LOADING
MDPE - 2406 | [11 empty] | JOINT TRENCH |  |  | CLAY | [9 empty] | MECHANICAL FITTING |  |  | SOCKET FUSION |  |  | INSTALLATION ERROR
PB | [11 empty] | PLANTED |  |  | ROCKY | [6 empty] | PIPE |  |  | HEAT FUSION FITTING |  |  | SADDLE FUSION |  |  | PREVIOUS IMPACT
PVC | [11 empty] | UNKNOWN |  |  | SLURRY | [6 empty] | FITTING (Complete FAILURE IN FITTING) |  |  | ELECTROFUSION FITTING |  |  | SOLVENT |  |  | MATERIAL DEFECT (DESCRIBE)
OTHER(Describe): | [11 empty] | OTHER(Describe): |  |  | OTHER(Describe): | [6 empty] | JOINT (Complete FAILURE IN JOINT) |  |  | OTHER(Describe): |  |  | OTHER(Describe): |  |  | Unknown: Not Excavated - Abandoned
Unknown: Not Excavated - Replaced
UNKNOWN
OTHER(Describe):