## Report Form
MATERIALS SECTION |  |  |  |  | FAILURE ANALYSIS SECTION
Click here to view Definitions Document
1 | PIPE OR FITTING IDENTIFICATION |  |  |  | 7a | FAILURE/LEAK LOCATION
TYPE OF MATERIAL |  | OTHER SPECIFICATION: |  |  |  | PIPE (Go to Failure/Leak Cause)
(Check one) |  | MANUFACTURER: |  |  |  | FITTING (Complete 7b)
| ABS |  |  |  |  | JOINT (Complete 7c)
[5 empty] | 7b | FAILURE/LEAK IN FITTING (Check one)
| HDPE - 3306 | ASTM F2897 16-CHARACTER CODE, |  |  |  | TRANSITION
| HDPE - 3406 | PRINT LINE OR LABEL:
| HDPE- 3408 |  |  |  |  | VALVE
| HDPE - 4710 |  |  |  |  | METER RISER
| MDPE - 2306 | (Circle one and enter the value below) |  |  |  | MECHANICAL FITTING (Stab)
| MDPE - 2406 | SDR, DR, SCHEDULE or |  |  |  | MECHANICAL FITING (Nut Follower)
| MDPE - 2708 | WALL THICKNESS: |  |  |  | MECHANICAL FITTING (Bolted)
MECHANICAL FITTING (Other, Describe)
PB
HEAT FUSION FITTING
| PVC | NOMINAL SIZE: |  |  |  | ELECTROFUSION FITTING
THREADED CAP
| NYLON |  |  |  |  | OTHER (Describe)
PA - 11
[5 empty] | 7c | FAILURE/LEAK IN JOINT (Check one)
| OTHER (Describe) |  |  |  |  | MECHANICAL JOINT (Stab)
MECHANICAL JOINT (Nut Follower)
2 | DATE OF MANUFACTURE: |  |  |  |  | MECHANICAL JOINT (Bolted)
| (mm/dd/yy) |  |  |  |  | MECHANICAL JOINT (Other, Describe)
ELECTROFUSION
BUTT FUSION
SOCKET FUSION
INSTALLATION AND OPERATIONS SECTION | [5 empty] | SADDLE FUSION
3 | METHOD OF INSTALLATION |  | 4 | TYPE OF SOIL IN CONTACT WITH PIPE |  | SOLVENT
| (Check one) |  |  |  |  | OTHER (Describe)
| OPEN TRENCH |  |  | (Check one)
| BORED/HDD |  |  | SAND | 8 | FAILURE/LEAK CAUSE (Check all that apply)
| PLOWED IN |  |  | LOAM |  | SQUEEZE OFF
| INSERTION |  |  | CLAY |  | POINT LOADING
| JOINT TRENCH |  |  | ROCKY |  | EXCESSIVE EXPANSION/CONTRACTION
| PLANTED |  |  | SLURRY |  | EXCESS EXTERNAL EARTH LOADING
| UNKNOWN |  |  | OTHER (Describe) |  | INSTALLATION ERROR
| OTHER (Describe) |  |  |  |  | PREVIOUS IMPACT
MATERIAL DEFECT (Describe)
5 | OPERATING PRESSSURE |  |  |  |  | THREADED CAP (Cracked Cap)
A. | AT TIME OF FAILURE: |  |  |  |  | THREADED CAP (Loose cap, not cracked)
|  | psig |  |  |  | THREADED CAP (Seal/O-ring defect)
THREADED CAP (Other, Describe)
B. | NORMAL RANGE (IF KNOWN)
|  | psig |  |  |  | CORROSION
GOPHER/RODENT/WORM DAMAGE
UNKNOWN: NOT EXCAVATED - ABANDONED
UNKNOWN: NOT EXCAVATED -REPLACED
UNKNOWN
OTHER (Describe)
6 | DATE OF INSTALLATION
| (mm/dd/yy or year) |  |  |  | 9 | DATE OF FAILURE/LEAK
(mm/dd/yy)
| CONTACT NAME: |  |  |  |  | E-MAIL PHONE#: